## Sheet1
Location
Country | _________
City | __________
Detailed Address | _____________________
Floor | __________
Load bearing of the floor | __________
Free space or existing Cabinet:
[ ] Free space | Available Width: _______m; Depth: _______m; Height_______m; Area________m²
[ ]Existing Cabinet | Width: _______m; Internal depth: _______m; Available height: _______mm;
Back of the cabinet: [ ] Open; [ ] Closed
Power Supply
Voltage | ________ V
Amp | ________ A
Maximum KW allowed for the cabinet/rack | ________KW
Power type | [ ] Three-phase; [ ] One-phase
Power Socket | _____pins; [ ] Yes/[ ] No Grounded; Plug type: ________
Network
network transit | ____________
Number of IPV4 address | ____________
Switch | [ ] Yes, Brand and specification: __________; [ ] No
Raspberry Pi device (for installation & maintenance) | [ ] Yes; [ ] No
Service
Stocking area | Can I ship materials directly to datacenter? [ ] Yes; [ ] No
Anyone to recept and manage materials? [ ] Yes, contact:___________; [ ] No
Working hours:_________
Installation | Installation service? [ ] Yes, contact: __________; [ ] No
Working hours: _________
Installation tools? please check if you have equipped with the following tools.
[ ]USB to RJ45 Serial cable
[ ]Screen
[ ]Keyboard
[ ]Screw drivers
[ ]HDMI Cable
[ ]Graphic card
[ ]RJ45 network cable (backup)
[ ]SFP+ to RJ45 transceiver. (If the internet connection in the hosting environment is a cober cable in RJ45 format, it is needed (reference: https://www.amazon.fr/Compatible-SFP-Ge-T-1000Base-T-Transceiver-connecteur/dp/B01AW5EHKG). If the internet connection in the hosting environment is a fiber cable directly in SFP format, then no need to prepare this tool. )
[ ]label printer (server+cable management)
[ ]HOOK&LOOP (server + cable management)